## Slide 1: Achieving Zero-Carbon Buildings: Electric, Efficient and Flexible Key messages pack Long

## Slide 2: The building decarbonisation challenge

## Slide 3: Buildings account for 33% of global emissions; around three-quarters of this relates from energy use to operate buildings, a quarter is from the annual construction of new buildings
Chart: 
 | 8 | 18 | 7 | 6.16 | 60.35
26% - 9.7 GtCO2
7% -
2.6 GtCO2
Embodied carbon from new building construction
6% - 2.3 GtCO2
Embodied carbon from construction of new infrastructure
12.3
GtCO2
60%
Other
Emissions from buildings operational energy use
Direct use of fossil fuels in buildings (e.g., gas and oil boilers and stoves)
Indirect use of fossil fuels used to generate electricity to power, heat and cool buildings
Embodied emissions arise from the production of materials (e.g., cement, steel, and aluminium) and the energy used to construct buildings
~250 billion m2
~5 billion m2
a year
Current stock of global buildings
Annual additions to global building stock - ~2% growth
Global emissions by sector, 2022
GtCO2
Direct
Indirect

## Slide 4: The direct use of fossil fuels in buildings accounts for ~40% of energy use, followed by electricity at 35%, and the traditional use of biomass for cooking at 20%
Heating
Cooking
6,000
1,800
2,200
10,200
16,700
Appliances
Lighting
Cooling
Global buildings operational energy use by end-use and fuel, 2022
TWh
Note: Shares of building energy by end use from 2021 applied to 2022 actuals. Heating includes both space and water heating.
Source: Systemiq analysis for the ETC; IEA (2022), World Economic Outlook 2021; IEA (2023), World Economic Outlook 2022.
TUOB
Renewables
District Heat
Electricity
Fossil fuels
Gas
Oil
Coal
Share of:
Buildings energy use
Buildings direct
fossil fuel use
45%
28%
6%
80%
15%
<2%
Chart: 
 | 45 | 55
Chart: 
 | 80 | 20
Chart: 
 | 30 | 70
Chart: 
 | 15 | 85
Chart: 
 | 6 | 94
Chart: 
 | 2 | 98
5%
<2%
Chart: 
 | 5 | 95
Chart: 
 | 2 | 98
16%
<5%
Chart: 
 | 16 | 86
Chart: 
 | 2 | 98
Total buildings energy use ~37,000 TWh

## Slide 5: Cement, concrete and steel account for 95% of embodied emissions relating to material production
Cement and steel contribution to global construction material carbon impact
% of total
Chart: 
 | 66 | 29 | 5
Cement and concrete
Steel
Others (bricks, aluminium, glass etc)

## Slide 6: Global floor area is set to increase 50–60% by 2050, driven by a doubling of the building stock in middle- and low-income countries
Growth in global floor area, projections to 2022 to 2050
Billion m2
Chart: 
 | 200 | 310
 | 54.624 | 85
2022
2050
250
390
+55%
+55%
Chart: 
 | 90 | 121.7906
 | 69.1 | 83.6
 | 93.6 | 187.4824
2022
2050
250
390
+35%
+20%
+100%
+55%
Other middle- and low-income countries
China
High-income countries
Commercial
Residential

## Slide 7: “Commercial buildings” refers to a very large and heterogenous group of sectors including schools, hotel and retail; offices only account for 25–40% of building stock
Chart: 
 | 8.132 | 3 | 7
 | 7.1591 | 7 | 5
 | 19.0278 | 11 | 5
 | 16.6959 | 11 | 14
 | 20.3862 | 28 | 14
 | 28.5989 | 17 | 17
 | 23 | 38
US
3%
Europe
China
Commercial buildings by sector
% of total floor area for the US and China, % of number of buildings for Europe
Note: For the US, sports facilities are included in “warehouses and other”.
Source: National Renewable Energy Laboratory (2022), US Building Stock Characterization Study; Building Performance Institute Europe (2015), Europe’s Buildings Under the
Microscope; Baijiahao (2018), Real estate and constructions: What are the sub-sectors? What are the sizes?; Eurostat, available at
www.building-stock-observatory.energy.
ec.europa.eu/database/. [Accessed 01/08/2024]; US Energy Information Administration (2018), Commercial Buildings Energy Consumption Survey; Pan L, Zhu M, Lang N, Huo
T. (2020), What Is the Amount of China's Building Floor Space from 1996 to 2014?
% of total floor space (2021)
% of number of buildings (2015)
% of total floor space (2015)
Chart: 
 | 14.5307 | 14.7352 | 16.6246 | 16.8 | 17.9518 | 19.0117 | 19.279 | 20.4193 | 20.7836 | 21.8633 | 22.1708 | 22.5369 | 22.6489 | 24.5273 | 24.569 | 25.2395 | 25.5013 | 25.5748 | 26.1653 | 26.6998 | 27.3501 | 27.404 | 28.5326 | 29.1585 | 29.6074 | 30.4722 | 33.8952 | 33.9295
 | 85.4693 | 85.2648 | 83.3754 | 83.2 | 82.0482 | 80.9883 | 80.721 | 79.5807 | 79.2164 | 78.1367 | 77.8292 | 77.4631 | 77.3511 | 75.4727 | 75.431 | 74.7605 | 74.4987 | 74.4252 | 73.8347 | 73.3002 | 72.6499 | 72.596 | 71.4674 | 70.8415 | 70.3926 | 69.5278 | 66.1048 | 66.0705
20%
40%
60%
80%
100%
0%
Romania
Italy
Spain
China
Cyprus
Slovakia
Croatia
United States
Czech Republic
Bulgaria
Latvia
Portugal
Luxembourg
Hungary
France
Lithuania
Austria
Netherlands
Belgium
Ireland
Sweden
Poland
Greece
Denmark
Slovenia
Germany
Finland
Malta
Residential
Commercial
Built floor area by residential / commercial, 2015
% of total floor area
Offices
Education
Wholesale and retail
Warehouses and other
Hotels and restaurants
Healthcare
Sports/entertainment
Schools, universities, research labs
Hospitals, care homes
Incl. Shops, hairdressers, service stations, food shops
Gyms, leisure centres, swimming pools
Incl. cafes, pubs, canteens in businesses
Incl. transportation and garages, agricultural buildings

## Slide 8: Section A: Decarbonising the energy used to operate buildings

## Slide 9: Heating

## Slide 10: The net-zero transition will require buildings to become lower-carbon, more efficient and more flexible in their energy consumption habits
Clean heating technologies
Technologies to reduce total energy consumption
Technologies to shift energy consumption outside of peak times
Resistive heating
Solar thermal
Low-carbon fuels
Insulation
Rooftop solar PV*
Smart systems
Heat pumps
Passive heating
Stationary batteries
Water tanks
Thermal batteries
Three sets of technologies are required to create…
Low-carbon…
Efficient…
and Flexible
… buildings
Note: *Rooftop solar PV does not reduce overall energy consumption from buildings, but reduces imports from the grid.
Source: Systemiq analysis for the ETC.

## Slide 11: Heat pumps are 3–5 times more efficient than gas boilers, while resistive heating converts 100% of electric energy to heat
Chart: 
 | 50 | 60 | 250 | 300 | 100 | 90 | 80 | 70
 | 45 | 35 | 250 | 250 | 1 | 3 | 10 | 10
Efficiency (%)
Oil boiler
Gas boiler
Air source heat pump
Ground source
heat pump
Resistive heating
Hydrogen boiler
Biomass
Solar thermal hot water
60–95%
250–500%
300–550%
100%
70-80%
50–95%
Efficiency (primary energy to final energy) of space heating technologies
%
Note: The efficiency of heat pumps depends more on the differential between the outside temperature and desired indoor temperature than technical efficiency, resulting in a huge range of possible efficiencies.
Source: Systemiq analysis for ETC; IEA (2022), Future of Heat Pumps; IRENA (2022), Heat Pump Market and Costs; IEA (2023), Energy Efficiency Database.
Fossil fuel technologies
80-90%
90%
Electric technologies
Other technologies

## Slide 12: The competitiveness of electric heating technologies depends massively on the relative cost of gas and electricity prices
Equivalent annual cost of ownership (technology, installation and running costs) – Europe
€ per year
Chart: 
 | 328.5278 | 383.2825 | 562.7346 | 375.1564 | 645.2691 | 173.4161
 | 1397.4 | 1280.95 | 1013.115 | 1302.5764 | 1207.869 | 3039.345
Gas boiler
Oil boiler
Networked ground source heat pump
Resistive heating
90% | 90% | 300% | 350% | 500% | 100%
Efficiency
Note: Assumes an average heat demand of 11,500 KWh a year per household, based on an average across the US and select European countries. Average, min and max running costs are based on 2023 retail prices. Assumes 5% discount rate. Excludes subsidies and maintenance costs. Networked ground source heat pumps – we assume a €50 a month standing charge fee for the shared ground arrays.
Source: Systemiq analysis for the ETC; Eurostat Database, available at www.ec.europa.eu/eurostat/data/database. [Accessed 01/08/2024].
Air-to-water heat pump
Air-to-air heat pump
Running cost (average European
gas and electricity prices)
Upfront cost
Range of running costs in Europe, based on highest and lowest gas/electricity prices in 2023
2023 average European prices:
Gas: €0.12/kWh
Electricity: €0.29/kWh  2.5x more expensive

## Slide 13: The smaller the differential between gas and electricity prices, the lower the efficiency that a heat pump needs to achieve for cost parity
Equivalent annual costs (technology, installation and running costs) at different electricity to gas price ratios
€ a year
Chart: 
| 100 | 109.99999999999991 | 119.99999999999993 | 129.99999999999994 | 139.99999999999994 | 149.99999999999994 | 159.99999999999997 | 169.99999999999997 | 179.99999999999997 | 190 | 200 | 210 | 220.00000000000003 | 230.00000000000003 | 240.00000000000003 | 250.00000000000006 | 260.00000000000006 | 270.00000000000006 | 280.00000000000006 | 290.00000000000006 | 300.00000000000011 | 310.00000000000011 | 320.00000000000011 | 330.00000000000011 | 340.00000000000011 | 350.00000000000011 | 360.00000000000011 | 370.00000000000017 | 380.00000000000017 | 390.00000000000017 | 400.00000000000017 | 410.00000000000011 | 420.00000000000011 | 430.00000000000006 | 440.00000000000006 | 450 | 459.99999999999994 | 469.99999999999994 | 479.99999999999989 | 489.99999999999989 | 499.99999999999983 | 509.99999999999977 | 519.99999999999977 | 529.99999999999977 | 539.99999999999966 | 549.99999999999966
 | 4207.3556 | 3903.3106 | 3649.9397 | 3435.5489 | 3251.7854 | 3092.5237 | 2953.1697 | 2830.2103 | 2720.913 | 2623.1208 | 2535.1077 | 2455.4769 | 2383.0852 | 2316.9884 | 2256.3997 | 2200.6581 | 2149.2043 | 2101.562 | 2057.3226 | 2016.1342 | 1977.6917 | 1941.7294 | 1908.0147 | 1876.3434 | 1846.535 | 1818.43 | 1791.8864 | 1766.7776 | 1742.9903 | 1720.4228 | 1698.9838 | 1678.5905 | 1659.1683 | 1640.6495 | 1622.9725 | 1606.0811 | 1589.9241 | 1574.4546 | 1559.6298 | 1545.41 | 1531.759 | 1518.6433 | 1506.0321 | 1493.8967 | 1482.2109 | 1470.9499
 | 3610.2069 | 3360.4481 | 3152.3157 | 2976.2037 | 2825.2506 | 2694.4245 | 2579.9517 | 2478.9463 | 2389.1637 | 2308.832 | 2236.5333 | 2171.1203 | 2111.6539 | 2057.3585 | 2007.5878 | 1961.7986 | 1919.5318 | 1880.3958 | 1844.0552 | 1810.2209 | 1778.6422 | 1749.1008 | 1721.4058 | 1695.3892 | 1670.9031 | 1647.8161 | 1626.0118 | 1605.386 | 1585.8459 | 1567.3078 | 1549.6966 | 1532.9444 | 1516.9901 | 1501.7777 | 1487.2569 | 1473.3814 | 1460.1092 | 1447.4017 | 1435.2238 | 1423.5429 | 1412.3292 | 1401.5553 | 1391.1958 | 1381.2272 | 1371.6278 | 1362.3774
 | 2923.3701 | 2736.051 | 2579.9517 | 2447.8677 | 2334.6529 | 2236.5333 | 2150.6787 | 2074.9247 | 2007.5878 | 1947.3389 | 1893.115 | 1844.0552 | 1799.4554 | 1758.7338 | 1721.4058 | 1687.0639 | 1655.3638 | 1626.0118 | 1598.7563 | 1573.3806 | 1549.6966 | 1527.5405 | 1506.7693 | 1487.2569 | 1468.8922 | 1451.577 | 1435.2238 | 1419.7545 | 1405.0993 | 1391.1958 | 1377.9874 | 1365.4233 | 1353.4575 | 1342.0482 | 1331.1576 | 1320.751 | 1310.7968 | 1301.2662 | 1292.1328 | 1283.3721 | 1274.9619 | 1266.8814 | 1259.1118 | 1251.6353 | 1244.4358 | 1237.498
 | 6357.554 | 5858.0364 | 5441.7716 | 5089.5476 | 4787.6414 | 4525.9893 | 4297.0437 | 4095.0329 | 3915.4677 | 3754.8041 | 3610.2069 | 3479.3808 | 3360.4481 | 3251.8573 | 3152.3157 | 3060.7375 | 2976.2037 | 2897.9317 | 2825.2506 | 2757.5819 | 2694.4245 | 2635.3418 | 2579.9517 | 2527.9186 | 2478.9463 | 2432.7724 | 2389.1637 | 2347.9123 | 2308.832 | 2271.7557 | 2236.5333 | 2203.0291 | 2171.1203 | 2140.6957 | 2111.6539 | 2083.9029 | 2057.3585 | 2031.9437 | 2007.5878 | 1984.226 | 1961.7986 | 1940.2508 | 1919.5318 | 1899.5945 | 1880.3958 | 1861.8951
 | 1854.8318 | 1854.8318 | 1854.8318 | 1854.8318 | 1854.8318 | 1854.8318 | 1854.8318 | 1854.8318 | 1854.8318 | 1854.8318 | 1854.8318 | 1854.8318 | 1854.8318 | 1854.8318 | 1854.8318 | 1854.8318 | 1854.8318 | 1854.8318 | 1854.8318 | 1854.8318 | 1854.8318 | 1854.8318 | 1854.8318 | 1854.8318 | 1854.8318 | 1854.8318 | 1854.8318 | 1854.8318 | 1854.8318 | 1854.8318 | 1854.8318 | 1854.8318 | 1854.8318 | 1854.8318 | 1854.8318 | 1854.8318 | 1854.8318 | 1854.8318 | 1854.8318 | 1854.8318 | 1854.8318 | 1854.8318 | 1854.8318 | 1854.8318 | 1854.8318 | 1854.8318
European average today (2.5:1)
With a 2:1 ratio
With a 1.5:1 ratio
With a 4:1 ratio
Gas
Example country ratios
United Kingdom
Belgium
Germany
Italy
United States
France
Netherlands
Portugal
Sweden
A 2:1 price ratio would make heat pumps cost competitive at a COP of 2.7, as opposed to 3.4
Note: Assumes an average heat demand of 11,500 KWh a year per household, based on an average across the US and select European countries. Fuel prices reflect averages from 2023. Assumes a discount rate of 5%.
Source: Systemiq analysis for the ETC; Eurostat Database, available at: https://ec.europa.eu/eurostat/data/database. [Accessed 01/08/2024].

## Slide 14: Passive heating

## Slide 15: Passive techniques in new buildings can reduce heating energy consumption by 15–30% on average
Chart: 
 | 10 | 15 | 10 | 15 | 5
 | 20 | 25 | 20 | 35 | 20

0%
10%
20%
30%
40%
50%
Airtight membranes and tapes
Double glazing
Cavity wall, loft and floor insulation
External wall insulation
Walls with thermal mass
Impact on annual heating energy consumption of passive heating techniques
%
Building envelope
Building fabric
Expected average cost to developer
Low
$500–2,000
Medium
$500–1,500
Medium
$2,500–5,000
High
$1,000–5,000
High
$2,500–10,000
Rate of return (assessment of developer costs and household energy bill savings in Europe)
High
20%
High
30%
Medium
5%
High
30%
Low
<5%

## Slide 16: 3 aspects to creating “net-zero ready” buildings: all buildings must have clean heating and smart/flexible technologies, and assess the most appropriate building fabric improvements
New buildings
Existing
buildings
Install clean heating technologies
Improve building fabric
Install smart and flexible tech
All buildings in high-income countries from 2025.
In other countries, from 2035
All buildings by the early-mid 2040s in high-income countries.
In other countries, the aim should be 2050.
Light retrofit: easy to access improvements (e.g., low-cost or less disruptive)
Medium retrofit: 2-4 interventions
Deep retrofit: package of whole-house interventions
All buildings should explore low-cost measures
Most buildings can take a balanced approach to further insulation; deep retrofit is not a pre-requisite for a heat pump in the average house
Retrofitting the least efficient buildings must be a government priority
Inefficient buildings
Average building
✔
✔
✔
✔
✔
Heat pumps, resistive heating
Solar PV, batteries, smart systems
All buildings should be built to much higher energy efficiency standards – the additional cost to developers of achieving a 20% reduction in kWh/m2 is typically around 1-5%, which can often be recouped via a higher selling price
All buildings in high-income countries should be smart-ready and solar-ready
With falling costs, rooftop solar PV and smart systems offer huge opportunities to lower energy bills
Time of use tariffs are needed to incentivise investment in batteries and water storage
Insulating walls (internal, external, cavity), lofts and ceilings, double glazed windows, draught proofing, ventilation improvements
Possible interventions

## Slide 17: Implications for technologies and energy demand

## Slide 18: While it is not possible to estimate an exact tech mix, there is huge value in understanding the broad trajectory of clean heating technologies to guide policy, investment and skills
Chart: 
 | 22
 | 23
 | 32
 | 23
Flat
Terraced
Semi-detatched
Detatched
Chart: 
 | 17
 | 10
 | 53
 | 20
New build
(owned or
rented)
Owned
Rented
Social
Air to water heat pump
Network ground source heat pump
Resistive
Ground source heat pump
District heating
Illustration of probable dominant space heating technologies across different building archetypes and ownership – UK
% of stock in 2050
Air to air heat pump
Rented and social: Relies on strong regulatory and financial action to ensure low-cost but low efficiency resistive heating isn’t dominant

## Slide 19: While it is not possible to estimate an exact tech mix, there is huge value in understanding the broad trajectory of clean heating technologies to guide policy, investment and skills
Chart: 
 | 34
 | 19
 | 46
Flat
Semi-detatched
Detatched
Chart: 
 | 20
 | 5
 | 54
 | 20
20
New build
Owned
Rented
Social
Air to water heat pump
Network ground source heat pump
Resistive
Ground source heat pump
Air to air heat pump
District heating
Illustration of probable dominant space heating technologies across different building archetypes and ownership– France
% of stock in 2050

## Slide 20: In Europe and the United States, 95% of gas boilers could be phased out by the early 2040s, with no more gas boilers to run by 2045
Source: Systemiq analysis for the ETC; IEA (2022), World Energy Outlook 2022; IEA (2023), World Energy Outlook 2023; IEA (2023), World Energy Balances dataset; IEA (2023),
Energy Efficiency dataset; Tsinghua Building Energy Research Center, Annual Report of Building Energy in China.
Building heating technology stock
% of stock of technologies in individual homes
Chart: 
 | 8.4916 | 10.2983 | 12.1115 | 14.1823 | 16.5171 | 18.8523 | 21.1304 | 23.89 | 26.5894 | 31.368 | 36.3273 | 42.3923 | 48.7424 | 57.4004 | 64.8975 | 71.6795 | 78.4079 | 84.7923 | 92.4568 | 97.0024 | 99.255 | 99.8889 | 99.9945 | 100 | 100 | 100 | 100 | 100 | 100
 | 9.4884 | 9.2159 | 8.9375 | 8.5706 | 8.1174 | 7.627 | 7.1653 | 6.6671 | 6.1451 | 5.5109 | 4.6563 | 3.4715 | 2.4157 | 1.4409 | 0.7879 | 0.39167 | 0.17524 | 0.069693 | 0.017324 | 0.0043065 | 0.00085644 | 0.00012775 | 1.2704e-05 | 0 | 0 | 0 | 0 | 0 | 0
 | 82.02 | 80.4858 | 78.951 | 77.2471 | 75.3655 | 73.5206 | 71.7043 | 69.443 | 67.2655 | 63.1211 | 59.0164 | 54.1362 | 48.8419 | 41.1586 | 34.3146 | 27.9289 | 21.4168 | 15.138 | 7.5259 | 2.9933 | 0.74411 | 0.11099 | 0.0055187 | 0 | 0 | 0 | 0 | 0 | 0
2022
2030
2035
2040
2045
2050
Gas
Oil
Electric technologies
95% of gas boilers phased out early 2040s
Chart: 
 | 20
 | 10
 | 70
The vast majority will be
transitioned to various types
of heat pumps
A share can be transitioned to
district heat networks, the vast
majority of which will be
powered by heat pumps
Resistive heating, where heat
pumps are unfinanceable,
unsuitable, or unpreferable
Indicative 2050 mix
No more gas boilers to run
No new gas boiler installations
Europe
US

## Slide 21: Electricity demand from heating could be 4 times higher than it is today, but with strong action on energy productivity, the increase could be less than double
Chart: 
 | 10833.342 | 439.1021 | 695.1273 | 572.8506
 | 2638.891 | 10304.613 | 7991.6957 | 4593.6066
 | 3055.558 | 4041.3581 | 4041.3581 | 2827.1439
500
2050 - baseline
700
2050 - with technical efficiency improvements of heat pumps
600
2050 - with technical efficiency improvements AND better new buildings, retrofit and demand efficiency
Fossil in
individual buildings
Electricity in
individual buildings
Other
16,500
14,800
12,700
8,000
10,800
2,600
3,100
10,300
4,000
8,000
4,000
4,600
2,800
2022
-10%
-15%
-40%
-50%
Note: Other includes district heating and renewables.
Source: Systemiq analysis for the ETC; IEA (2023), World Energy Outlook 2023; IEA (2021), Net Zero by 2050.
Global final energy demand for heating by fuel in 2050
TWh
x4
Note: other includes district heating, which will also be majority powered by electricity in 2050

## Slide 22: Cooling

## Slide 23: Cooling is the fastest growing operational end-use, with global cooled floor area set to overtake heated floor area by 2050
Chart: 
 | 125.467 | 257.7286
 | 410.691 | 507.593
 | 816.8587 | 1328.7314
 | 223.5639 | 249.2091
 | 66.5929 | 1070.7406
 | 27.2702 | 221.1229
 | 24.5841 | 118.1962
 | 31.9933 | 154.6615
 | 63.6472 | 196.7721
 | 320.4427 | 1117.4668
2022
2050
2,100
5,200
150%
Europe
US
China
Japan and Korea
India
Indonesia
Mexico
Brazil
Middle East
Rest of world
Space cooling (residential + commercial) energy consumption by region, IEA baseline scenario, 2022-50, TWh
Rapid growth in cooling demand in countries with carbon-intensive electricity grids highlights the importance of rapidly scaling up renewables across the world.
Chart: 
 | 157 | 200
 | 105 | 250
2022
2050
150
100
+25%
+150%
Cooled floor area
Heated floor area (space heating)
Heated floor area vs. cooled floor area (residential + commercial), IEA Net Zero scenario Billion M2
Cooled floor area is growing at a higher rate than heated, driven by 1) GDP per capita growth; 2) increase in building floor area, particularly in developing economies; 3) warming climates

## Slide 24: Passive techniques can reduce cooling energy consumption in buildings by 25–40% on average and many of these are very low-cost, such as painting roofs white and planting trees
Chart: 
 | 0.1 | 0.235 | 0.24358 | 0.08 | 0.12 | 0.1 | 0.2677 | 0.15 | 0.32
 | 0.1 | 0.095 | 0.21686 | 0.62 | 0.18 | 0.27 | 0.2323 | 0.1 | 0.58

0%
10%
20%
30%
40%
50%
60%
70%
80%
90%
100%
Natural ventilation
Wall insulation
Reducing window to
wall ratio from 100% to 25%
External shading
Double-glazed south- facing windows
White-painted roof
Walls with thermal
mass
Creating green space
Vegetation-based wall
Impact on annual cooling energy consumption of passive cooling techniques
%
Building design
Material and colour choices
City design and site adaptation
Expected cost to developers
Low
$1,000–3,000
Medium
$1,500–4,500
High
$10,000–30,000
Medium
$2,000–7,000
Medium
$5,000–10,000
Low
$500–2,000
High
$10,000–30,000
Medium
$2,000–10,000
High
$10,000–30,000
The cost and impact of passive cooling techniques varies massively depending on:
Climate
Labour and material costs in different countries
Extent of technique deployed (e.g., external shading can range from trees and retractable awnings to concrete structures)

## Slide 25: Improving the technical efficiency of AC and deploying passive cooling techniques in new buildings could more than offset the increase in electricity demand - but relies on strong policies
Global electricity consumption from cooling, 2020 to 2050
Annual TWh
Chart: 
 | 2108.335 | 2108.335 | 5168.335 | 2584.1675 | 1224.1675 | 1224.1675
 | 3060 | 2584.1675 | 1360
Electricity consumption, 2022
Increased demand to 2050
Electricity consumption in
2050, holding today's
technical and building
efficiency constant
Technical efficiency improvements
Better new
buildings, retrofit for
passive cooling, and
behavioural choices
Electricity
consumption,
2050 - lower
bound
-2,600
-1,400
2,100
3,100
5,200
1,200
x2.5
-75%

## Slide 26: Cooking

## Slide 27: High-carbon cooking fuels are also the least efficient; electric induction hobs are by far the most efficient cooking technology
Chart: 
 | 10 | 20 | 40 | 70 | 80
 | 10 | 30 | 20 | 10 | 10
Traditional use of biomass
(TUOB) and coal
Improved cookstoves
Natural gas, LPG and biogas
Electric conductive
Induction
20
50
60
80
90
10
20
40
70
80
Energy efficiency of cooking fuels and technologies
%
In hot countries with a cooling need, the impact of low efficiency TUOB and gas on electricity use is further exacerbated by increased fan or AC electricity needs to offset the heat produced

## Slide 28: The transition from inefficient biomass to electric cooking will more than halve final energy demand for cooking, but this could increase electricity demand 7-fold relative to today
Chart: 
 | 276.3272 | 414.4908 | 414.4908 | 414.4908
 | 552.6545 | 828.9817 | 3939.9752 | 3476.4487
 | 982.251 | 1473.3765 | 0 | 0
 | 1256.4822 | 1884.7233 | 70 | 26.5005
 | 101.6476 | 152.4714 | 0 | 0
 | 7046.3444 | 10569.5165 | 0 | 0
 | 528.4758 | 528.4758
550
2022
850
2050 - increase in
demand and holding
technology mix constant
4,000
2050 - with
transition to electric
technologies
3,500
2050 - with transition to electric
technologies and efficiency
improvements
10,200
15,300
4,900
4,400
+50%
-15%
-70%
TUOB
Coal
Oil
Gas
Electricity
Renewables
Bioenergy
Global cooking energy demand by fuel, 2022 and 2050
TWh
Note: TUOB = Traditional use of biomass.
Source: Systemiq analysis for the ETC; IEA (2023), A Vision for Clean Cooking for All.

## Slide 29: Lighting and appliances

## Slide 30: LEDs are the leading lighting technology, but only account for half of global sales; with well-designed policies and incentives, this could be 100% by 2030
Global lighting efficacies
Lumens per Watt
Chart: 
 | 68 | 72 | 75 | 79 | 83 | 86 | 90 | 95 | 99 | 103 | 107
 | 95 | 96 | 97 | 98 | 98 | 99 | 100 | 101 | 101 | 102 | 102
 | 59 | 59 | 59 | 59 | 60 | 60 | 60 | 60 | 60 | 61 | 61
 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15
 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13
 | 107 | 124.5 | 142
2010
2015
2020
2030
LEDs
Linear fluorescents
Compact fluorescents (CFLs)
Halogens
Incandescents
+30% projected
efficiency gain
Higher efficiency
LEDs have become more efficient than any other economically viable alternative
Chart: 
 | 1.1 | 1.8 | 3 | 5.4 | 8.8 | 13.9 | 17.2 | 24.6 | 32.9 | 39.2 | 43.3 | 46.3 | 50.5 | 100
 | 98.9 | 98.2 | 97 | 94.6 | 91.2 | 86.1 | 82.8 | 75.4 | 67.1 | 60.8 | 56.7 | 53.7 | 49.5 | 0
2010
2015
2020
2022
2030
Other lamps
LED
If current trends continue, LED sales could be 100% of new lighting sales by 2035; but policy should aim to achieve this by 2030
Global residential lighting sales share by technology
Proportion of sales (%)

## Slide 31: With regulation to phase out inefficient non-LED lightbulbs and continued improvements to LEDs, efficiency improvements could more than offset the rise in demand for lighting
Global annual lighting electricity consumption, 2022 to 2050
Annual TWh
80 lm per watt
Chart: 
 | 1800 | 1800 | 3590 | 2154 | 1615.5 | 1615.5
 | 1790 | 1436 | 538.5
2022
Demand increase
2050 - at current average lighting efficiency
2050 - assuming all lighting is LED
2050 - assuming LEDs get even more efficient
Potential electricity consumption in 2050
1,800
3,600
-1,500
-500
1,600
-55%
110 lm per watt
140 lm per watt
Global average lighting efficiency

## Slide 32: Commercial buildings

## Slide 33: Energy needs vary significantly across different types of commercial building meaning there is no one-size-fits-all decarbonisation pathway
Chart: 
 | 146.7681 | 125.687 | 71.8462 | 22.6648 | 91.4857 | 69.232 | 32.4807 | 50
 | 137.6445 | 62.8149 | 29.9045 | 84.6664 | 21.9962 | 7.8435 | 2.4549 | 20
 | 200.3405 | 81.5912 | 71.2279 | 70.206 | 62.5722 | 48.5912 | 12.0994 | 10
 | 605.785 | 141.0896 | 132.3667 | 123.349 | 55.918 | 80.8367 | 51.2586 | 30
Restaurants
Healthcare
Wholesale and retail
Hotels
Education
Offices
Warehouse
Residential
(gas for heating)
Space heating
Water Heating
Space cooling
Cooking, lighting, appliances
Energy intensity by subsector and energy end-use in the US, 2018
kWh per M2 per year
Food sector is the most energy intense, due to cooking energy use and small premises
Hospitals have complex and high overall energy needs
Due to their large footprint, offices and warehouses are the least energy intense commercial sector
Space heating and cooling needs are roughly equal, depending on the time of year
Very large water heating needs and lighting and appliances
Space heating needs dominate, while energy intensity is low given large spaces
Low water heating needs, high lighting and appliance needs
For reference, a typical US household uses ~100 kWh per M2 a year

## Slide 34: There is currently no correlation between green building certifications and energy performance of commercial buildings
Source: LOTUF (2024), Seeing is Believing: Unlocking the low-carbon real estate market.
Energy use intensity of office buildings in Europe and the United States, by green building certification status
kWh per M2 per year
Chart: 
 | 34.6458
 | 36.2583
 | 40.7287
 | 46.2537
 | 49.3265
 | 53.1261
 | 59.3168
 | 59.8512
 | 60.3157
 | 60.7224
 | 61.725
 | 64.5106
Chart: 
 | 0
 | 0
 | 0
 | 0
 | 0
 | 0
 | 0
 | 59.8512
 | 60.3157
 | 0
 | 0
 | 0
2022
Certified buildings
Non-certified buildings

## Slide 35: Refrigerant leakage

## Slide 36: There are two ways to reduce harmful refrigerant emissions – a) reduce how much refrigerant is released into the atmosphere, and b) transition to low GWP refrigerant
R-134a
1430
R410a
2088
R1234ze
7
CO2
1
Propane
3
Ammonia
0
R-32
675
HFCs (Hydrofluorocarbons)
Most commonly used
Low-GWP HFOs (Hydrofluoroolefins)
Alternatives to HFCs
Natural Refrigerants
Emerging solutions
Industry transition
Found in AC and heat pumps, refrigerants contribute to climate change if leaked and/or vented. Refrigerants differ in their global warming potential (GWP):
Leakage
A small amount of refrigerant typically escapes from AC and heat pump systems through leaks or improper handling.
Key risk factors include:
Older or poor quality equipment
Poor quality of installation
Lack of maintenance
2–5%
a year
Driven by the 2016 global Kigali Agreement to phase out high GWP HFCs
What is the challenge with refrigerants?
What are refrigerants?
GWP
Venting
Refrigerant is often intentionally released into the atmosphere during servicing and at end-of-life.
Key risk factors include:
Improper servicing practice
Lack of training and awareness of technicians
Improper disposal
90%+
of refrigerant at end of life

## Slide 37: Emissions from refrigerant leakage and venting could reach 2 GtCO2 in 2050, but could be 50% lower with regulation on proper disposal and a transition to low-GWP refrigerant
Chart: 
 | 0.58 | 0.66 | 2.99 | 2.08 | 1.5067 | 1.5067
 | 0.08 | 2.05 | 0.66 | 0.57
 | 0.28 | 0.25 | 0.0033
2024
Increase in heat pumps + AC installations
2050 (assuming no transition to low-GWP refrigerant)
Transition to low-GWP refrigerant
Lower venting rates (from 90% to 50%) + leakage rates (from 3.5% to 1.5% a year)
Potential 2050 total
0.7
2.3
-0.9
-0.6
AC
Heat pumps
2050 total
Scenarios of potential annual global emissions relating to refrigerant leakage and venting
GtCO2e
5%
Equivalent to… of current building emissions (12.3 GtCO2)
20%
<10%
Regulation to ban use of hydrofluorocarbons
Key policies:
Skills accreditation + regulation for proper disposal

## Slide 38: Flexible and efficient buildings

## Slide 39: Heating needs peak in the evening and during the winter months in Northern latitude countries, while solar generation peaks in the middle of the day and during summer
Hourly electricity demand, Great Britain, a week in January 2050
GW
Chart: 
Heating
Transport
Commercial and industrial
Appliances
Annual electricity demand and renewable supply, Great Britain, 2050
GW, averages over a week
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sept
Oct
Nov
Dec
Chart: 
 | 6.048 | 4.2892 | 3.4745 | 3.8454 | 7.8977 | 7.4799 | 7.8104 | 9.49 | 11.5708 | 13.4059 | 10.6538 | 9.2264 | 11.3946 | 13.2613 | 17.9685 | 19.224 | 14.0569 | 13.7347 | 17.3578 | 16.1326 | 18.7892 | 17.5065 | 16.2771 | 15.5705 | 18.7362 | 17.6425 | 16.2559 | 12.9152 | 13.5515 | 12.3707 | 12.6184 | 12.5341 | 13.746 | 11.9403 | 16.8698 | 13.6958 | 10.5941 | 8.8235 | 9.2895 | 9.5448 | 10.3036 | 9.2379 | 8.3727 | 5.0257 | 6.179 | 5.2545 | 5.5837 | 6.6555 | 5.0831 | 3.9505 | 4.1908 | 2.8812
 | 77.4824 | 94.4049 | 111.9129 | 81.8569 | 105.1778 | 77.7386 | 52.4927 | 58.7421 | 79.9934 | 66.6346 | 105.0653 | 100.2177 | 117.6011 | 93.7312 | 48.6501 | 68.8384 | 77.1808 | 62.661 | 63.7322 | 42.8603 | 38.1477 | 55.065 | 47.2272 | 52.4934 | 53.6103 | 60.3883 | 111.73 | 76.6401 | 83.6628 | 44.1809 | 47.4615 | 60.8026 | 50.7162 | 83.2444 | 58.9755 | 89.0782 | 119.9011 | 82.7303 | 75.9205 | 120.2747 | 73.5094 | 99.6927 | 111.9253 | 121.7995 | 96.5561 | 92.9076 | 72.4814 | 88.0439 | 78.8674 | 89.3458 | 55.0861 | 69.3495
Chart: 
 | 18.408 | 21.7358 | 23.4961 | 28.9848 | 14.9999 | 18.4008 | 21.2579 | 20.4736 | 19.9395 | 12.8123 | 15.2737 | 17.3897 | 19.982 | 20.4383 | 20.2223 | 14.1793 | 11.1736 | 11.3957 | 6.3749 | 7.4315 | 10.9232 | 8.1309 | 5.9657 | 3.4465 | 3.4623 | 4.8289 | 4.8138 | 5.8875 | 4.2414 | 4.1151 | 3.7534 | 2.5369 | 3.445 | 3.4196 | 4.8501 | 4.9387 | 3.7975 | 6.4417 | 5.2572 | 9.2173 | 13.6607 | 11.7498 | 11.4842 | 17.1268 | 17.1385 | 19.7154 | 19.7227 | 12.8123 | 12.8386 | 18.4849 | 21.238 | 30.0973
 | 74.5108 | 76.2925 | 79.878 | 85.6878 | 69.3952 | 72.2493 | 75.3463 | 73.2761 | 74.8278 | 66.2892 | 68.4352 | 65.5095 | 66.461 | 64.8395 | 65.1231 | 56.1112 | 51.9782 | 54.6785 | 49.4325 | 49.9113 | 52.7292 | 50.5752 | 48.8048 | 46.3777 | 45.6871 | 46.974 | 46.8614 | 48.328 | 46.5425 | 45.9251 | 44.7548 | 45.2319 | 46.0235 | 45.4262 | 48.2823 | 48.601 | 47.6426 | 50.7977 | 48.6512 | 52.5125 | 58.148 | 57.0614 | 56.6217 | 63.1795 | 63.9156 | 67.2395 | 67.3454 | 61.0584 | 63.0062 | 69.5461 | 69.1978 | 77.0827
Wind
Solar PV
Heating
Total
00:00
20/01
00:00
21/01
00:00
22/01
00:00
23/01
00:00
24/01
00:00
25/01
00:00
26/01
12:00
12:00
12:00
12:00
12:00
12:00
12:00

## Slide 40: Cooling needs tend to peak in the middle of the day and nighttime; AC is required all year round, but solar generation falls significantly during the Monsoon months
Hourly electricity demand, India, a week in January 2050
GW
Daily electricity demand and renewable supply, India, 2050
GW, averages over a week
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sept
Oct
Nov
Dec
Chart: 
0
100
200
300
400
500
600
700
800
900
1,000
1,100
1,200
1,300
Chart: 
Wind
Solar
Chart: 
Total demand
Monsoon season between June-September
00:00
20/01
00:00
21/01
00:00
22/01
00:00
23/01
00:00
24/01
00:00
25/01
00:00
26/01
12:00
12:00
12:00
12:00
12:00
12:00
12:00

## Slide 41: Creating efficient and flexible buildings will play a key part of managing household electricity demand in an energy system of variable renewables
Impact on final energy consumption
Impact on peak energy consumption
Better building design and retrofit
Passive heating/cooling reduces energy needs, and insulation reduces energy loss
Enables households to pre-heat their homes ahead of peak times
Smart systems
Optimise energy consumption according to need and incentivise household behaviour change
Automatically time shift energy consumption based on needs in response to peak prices
Storage solutions
Solar PV
Reduces electricity imports from the grid
Batteries, hot water storage, or heat storage enable time shifting of energy use to off-peak times
Unable to time-shift demand – unless combined with a battery
Only able to time shift demand - does not reduce the amount of energy needed
Technical efficiency improvements
More efficient technologies consume less energy
Use less energy for the same output
1
Reduces scale of peaks, but unable to load-shift
Reduce energy needs and losses
2
Household demand-side flexibility
3
Source: Systemiq analysis for the ETC.

## Slide 42: Building codes should move towards certification level over time, driving the industry frontier forward, while the Passive House standard defines the technical potential
Country with long established building energy codes
Certifications – top 5% of the market
Building codes – minimum standard
Manageable, gradual cost premium to meet rising standards
Today
2040
Passive House standard
Energy efficiency of new builds
Certifications push industry frontier
Illustrative
Country with no established building energy codes
Certifications
Typical range of new construction
Regulation must be gradually phased in and tightened over time for cost premiums to be feasible
Today
2040
Illustrative
Building code

## Slide 43: Homes vary significantly in terms of their ability to retain heat, with big implications for the ability of households to “pre-heat” their homes ahead of peak needs
Chart: 
 | 3 | 2.9 | 2.5 | 2.4 | 2.2 | 1.5 | 1.2 | 1.2 | 1.2 | 1 | 0.9
United Kingdom
Belgium
France
Netherlands
Spain
Italy
Austria
Denmark
Sweden
Germany
Norway
Home temperature loss after 5 hours
oC
Note: Tested in 2019/20 with a temperature of 20°C inside and 0°C outside.
Source: Tado, UK homes lose heat up to three times faster than European neighbours, Available at www.tado.com/gb-en/press/uk-homes-losing-heat-up-to-three-times-faster-than-european-neighbours?. [Accessed 01/08/2024].
A building’s “hours of flexibility” is determined by its:
Thermal mass: building fabric’s ability to slowly absorb, store and radiate ambient heat, avoiding sudden spikes in temperature  bricks, stone, concrete
Heat loss rate: insulation which creates a barrier between hot and cold temperatures  fibreglass, foam, mineral wool

## Slide 44: Rooftop solar PV will be a key solution in commercial buildings with large roof space relative to floor space (e.g., warehouses)
Chart: 
 | 13.1246 | 13.6862 | 13.9751 | 14.6011 | 15.3893 | 16.437 | 17.0031 | 18.042 | 16.0139 | 14.0569 | 12.4479 | 11.3276 | 10.5956 | 10.1917 | 10.5788 | 7.3606 | 7.2909 | 9.7843 | 10.9219 | 11.7145 | 13.2501 | 13.9335 | 13.4513 | 13.1368
 | 57.8356 | 55.5004 | 55.222 | 57.1499 | 63.8857 | 87.723 | 98.7132 | 98.2946 | 93.3222 | 74.5165 | 67.617 | 66.8385 | 66.7523 | 66.576 | 66.0889 | 69.9213 | 88.074 | 106.8814 | 115.2149 | 123.6759 | 122.025 | 99.917 | 72.5258 | 60.5228
0.00
0.02
0.04
0.06
0.08
0.10
0.12
0.14
1
3
5
7
9
11
13
15
17
19
21
23
Average hourly winter energy use, by commercial building – Europe
kWh
Small hotel – roof space: 1,000 M2, 4 floors
Large office – roof space: 3,500 M2, 12 floors
Secondary school – roof space: 12,000 M2, 2 floors
Warehouse – roof space: 2,100 M2, 1 floor
Note: Winter is defined as November to February.
Source: Systemiq analysis for the ETC; Schneider Electric Sustainability Research Institute.
Electricity - heat pump
Electricity - other
Chart: 
 | 0 | 0 | 0 | 0 | 0.0089997 | 0.31531 | 1.784 | 9.1419 | 20.3446 | 25.3176 | 30.0095 | 31.9399 | 30.8487 | 26.111 | 17.9772 | 7.735 | 1.1311 | 0.043551 | 0 | 0 | 0 | 0 | 0 | 0
Chart: 
 | 61.9772 | 67.0637 | 81.2703 | 89.4345 | 91.3778 | 359.8989 | 387.6425 | 266.6446 | 186.0632 | 146.5825 | 123.3228 | 118.5987 | 98.2688 | 88.822 | 90.814 | 100.0393 | 127.3007 | 135.0497 | 142.5152 | 164.6326 | 185.9818 | 72.6469 | 40.1663 | 54.6453
 | 338.1234 | 346.3283 | 353.6388 | 374.0326 | 417.5854 | 549.0668 | 585.0913 | 966.3146 | 1074.2476 | 1040.3492 | 1034.0179 | 1015.5775 | 1036.0731 | 1012.4524 | 1003.48 | 1042.6671 | 1004.1313 | 848.1923 | 779.2669 | 667.045 | 616.1911 | 440.4054 | 351.1481 | 334.5062
0.0
0.2
0.4
0.6
0.8
1.0
1.2
1.4
1
3
5
7
9
11
13
15
17
19
21
23
Chart: 
 | 0 | 0 | 0 | 0 | 0.010657 | 0.37336 | 2.1125 | 10.825 | 24.0903 | 29.979 | 35.5347 | 37.8205 | 36.5284 | 30.9184 | 21.287 | 9.1591 | 1.3393 | 0.051569 | 0 | 0 | 0 | 0 | 0 | 0
Solar PV
Chart: 
 | 29.1032 | 31.7611 | 34.1133 | 40.9541 | 43.1201 | 403.8964 | 439.6208 | 344.0801 | 284.5277 | 251.6912 | 222.4074 | 201.9267 | 192.7585 | 186.4242 | 179.94 | 172.4234 | 199.0952 | 224.4363 | 239.4059 | 252.9329 | 77.7766 | 19.7507 | 21.1796 | 22.7272
 | 148.9651 | 150.971 | 152.2211 | 154.9845 | 156.1176 | 181.8995 | 284.2879 | 357.3897 | 372.6214 | 375.7493 | 377.7173 | 376.7978 | 373.8018 | 372.0937 | 367.3607 | 364.5445 | 337.6204 | 329.9186 | 330.4768 | 331.2204 | 187.3288 | 142.5539 | 146.5954 | 147.1864
0.0
0.1
0.2
0.3
0.4
0.5
0.6
0.7
0.8
1
3
5
7
9
11
13
15
17
19
21
23
Chart: 
 | 0 | 0 | 0 | 0 | 0.10679 | 3.7415 | 21.1702 | 108.4811 | 241.4172 | 300.4291 | 356.105 | 379.0113 | 366.063 | 309.8438 | 213.3242 | 91.7869 | 13.422 | 0.51679 | 0 | 0 | 0 | 0 | 0 | 0
Chart: 
 | 15.0959 | 17.4779 | 18.5709 | 20.1491 | 21.6152 | 64.9093 | 62.9148 | 60.4254 | 46.8311 | 36.3402 | 29.452 | 24.5947 | 21.4277 | 19.7972 | 19.0217 | 20.2438 | 26.3134 | 32.6782 | 29.6844 | 30.6789 | 14.9057 | 7.5974 | 9.653 | 12.4237
 | 20.3609 | 20.7407 | 20.8446 | 20.9808 | 21.1189 | 27.505 | 28.6971 | 44.1899 | 70.1338 | 83.1885 | 85.3867 | 87.9071 | 88.7787 | 88.8146 | 88.7919 | 89.829 | 96.2496 | 80.0782 | 68.2161 | 61.8858 | 38.6217 | 22.6769 | 20.0257 | 20.2447
0.00
0.02
0.04
0.06
0.08
0.10
0.12
0.14
1
3
5
7
9
11
13
15
17
19
21
23
Chart: 
 | 0 | 0 | 0 | 0 | 0.031255 | 1.095 | 6.1958 | 31.7489 | 70.6551 | 87.926 | 104.2205 | 110.9245 | 107.1349 | 90.6813 | 62.4331 | 26.8631 | 3.9282 | 0.15125 | 0 | 0 | 0 | 0 | 0 | 0
Small roofs relative to floor space (roof : floor ratio <20%)
Roof space further limited by HVAC equipment
Solar PV can meet:
  ~10% of needs in small hotel
  ~1% of needs in large office
Warehouses have a 100% roof to floor ratio
Solar PV can meet:
  25% of needs in secondary school
  35% of needs in warehouse
Less likely to install solar PV
Highly likely to install solar PV

## Slide 45: Electrification, technical efficiency gains, and improving building fabric could reduce final energy demand by 60%
Impact of energy productivity on final energy demand in 2050 – residential + commercial buildings
TWh
Chart: 
 | 16527.791 | 36641.8583 | 57473.8921 | 41358.3937 | 30006.6058 | 26386.6449 | 24645.8657 | 23199.2049 | 23199.2049
 | 2200.0018 | 4989.0042 | 6731.722 | 2312.9173 | 3619.9609 | 1652.7791 | 1446.6609
 | 1800.0014 | 3060 | 9383.7764 | 2584.1675 | 88.0001
 | 6000.0048 | 1934 | 1646.5506
 | 10114.0593 | 5792 | 4344.6259
 | 5057.0296 | 463.5265
Activity - new
buildings and
additional
demand
2050 energy
consumption
without
decarbonisation
Electrification
Technical efficiency improvements
Better building codes
Fabric improvements to existing buildings
Behavioural
choices
2050 - with
decarbonisation
and enegy
productivity
36,600
20,900
57,500
-16,100
-11,400
-3,600
-1,700
-1,500
23,000
2022
-30%
-60%
Note: The increase in activity to 2050 includes both an increase in fossil fuel energy use (e.g., new fossil fuel boilers and cookers largely in lower-income countries) and new
electric heating and cooking appliances, largely in high-income countries and China. The electrification lever then refers to the transition of the existing stock of fossil fuel
heating and cooling to clean technologies.
Source: Systemiq analysis for the ETC; IEA (2023), World Energy Outlook 2023; IEA (2021), Net Zero by 2050.
Heating
Cooling
Lighting
Appliances
Cooking
Total building

## Slide 46: Global electricity demand could more than double by 2050 from 13,000 TWh to over 35,000 TWh – but strong action on energy efficiency could cut this in half to ~19,000 TWh
Chart: 
 | 2638.891 | 12774.8865 | 24771.2137 | 35442.9109 | 24090.6495 | 18599.0797 | 18599.0797
 | 2108.335 | 934 | 6731.722 | 2312.9173 | 5491.5698
 | 1725.0014 | 3060 | 3939.9752 | 2584.1675
 | 5750.0046 | 1934 | 1646.5506
 | 552.6545 | 5792 | 4344.6259
 | 276.3272 | 464
2022
Population, income and floor space growth
Transition to electric technologies
2050 - baseline
Technical efficiency improvements
5,500
Better new buildings, retrofit, and demand efficiency
2050 - with action on energy productivity
12,800
12,000
10,700
35,500
-11,400
18,600
-50%
x2.5
Heating
Cooling
Lighting
Appliances
Cooking
Total building
Electricity demand in 2050 and impact of efficiency levers – residential + commercial
TWh
Source: Systemiq analysis for the ETC; IEA (2023), World Energy Outlook 2023; IEA (2021), Net Zero by 2050.
Note: just considers the transition of individual fossil fuel boilers to heat pumps or resistive; additional electricity will be required to power district heating

## Slide 47: The direct use of fossil fuels in buildings could be virtually eliminated by 2050, with a reduction of 15% by 2030 and 75% by 2040 as heating and cooking electrify
Fossil fuel demand in buildings, projections to 2050
TWh
Source: Systemiq analysis for the ETC; IEA (2022), World Economic Outlook 2022; IEA (2023), World Economic Outlook 2023; IEA (2023), World Energy Balances dataset; IEA
(2023), Energy Efficiency dataset; Tsinghua Building Energy Research Center (2014), Annual Report of Building Energy in China..
Chart: 
 | 968.8029 | 414.2871 | 1189.3028 | 83.8857
 | 4240.6241 | 3761.1483 | 2122.8006 | 421.0904
 | 8419.2875 | 7307.3421 | 0 | 0
2022
2030
2040
2050
Coal
Oil
Gas
13,600
11,500
3,300
500
-15%
-75%
-95%

## Slide 48: Section B: Embodied carbon

## Slide 49: Understanding emissions across the building lifecycle

## Slide 50: Embodied carbon refers to the emissions arising from the construction, maintenance and demolishing of buildings
Sources of embodied and operational emissions across the building life cycle
Fuel + process emissions from producing building materials (e.g., steel, cement and concrete)
Fossil fuels used in factories and transportation
Fossil fuels used for machinery and transportation
Material production
Emissions relating to the production of new heating systems and equipment
Fossil fuels used for:
Demolition and machinery
Transportation of waste
Recycling or disposal processes
Heating
Cooling
Cooking
Lighting
Appliances
Type of building emissions
Time
Extract raw materials
Manu-facture products
Transport to factory
Transport to site
Con-struct the building
Use
Replace-ment
Mainte-nance
Repair
Refur-bishment
Energy use
Demol-ish building
Haul away waste materials
Disposal
Recycling
Embodied
Embodied
Embodied
Operational
Embodied
Product
Construction
A. Upfront phase
B. Maintenance and use phase
C. End of life phase

## Slide 51: Embodied emissions are large, one-off bursts of emissions at a few points in a building’s lifecycle; operational emissions occur every year a building is in operation
Whole life carbon emissions – Europe
kgCO2e per m2
There is a lack of data and no consensus on the level of embodied carbon emissions globally today
European case studies suggest that embodied carbon accounts for ~50% of a building’s lifecycle emissions – but this can vary across countries depending on the carbon intensity of the grid, heating technology, and materials used
The vast majority of embodied carbon emissions are in the upfront stages (product + construction)
Chart: 
 | 34 | 14 | 2 | 50
2%
Years
Share of total lifecycle emissions over 60 years
Chart: 
 | 560 | 110 | 95 | 110 | 10
0
10
20
30
40
50
60
Upfront embodied
Maintain and use embodied
End of life embodied
Chart: 
 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
Operational

## Slide 52: Steel, cement and concrete drive embodied carbon across all building layers; a building’s structure accounts for half of total upfront emissions
Concrete / cement
Steel
External walls (bricks + cement)
Doors (metal or timber)
Structure
Windows (glass + metal frames)
Skin
Internal walls
Doors (metal or timber)
Electrical (wiring, lighting)
Finishes (paint, tiles)
Public health (plastic)
Services
HVAC Systems
400
120
80
160
Space plan
Concrete / cement
Steel
Concrete/cement content
Steel content
Other materials dominate
Estimated upfront embodied carbon by building layer - Europe
kgCO2e per m2
Building layer

## Slide 53: Addressing process and production emissions will have the biggest impact on embodied carbon, but reducing material demand is also critical to achieve net-zero by 2050
1.5oC aligned pathways to net-zero
GtCO2 per year
Chart: 
 | 2481.5073 | 2455.9779 | 2406.4505 | 2376.4839 | 2350.3243 | 2312.581 | 2279.7941 | 2259.9909 | 2219.1401 | 2189.7313 | 2163.4736 | 2109.9872 | 2011.1212 | 1902.5776 | 1814.1471 | 1611.0667 | 1421.29 | 1243.8029 | 1081.614 | 937.3608 | 790.2063 | 670.0971 | 564.4425 | 484.577 | 397.0738 | 316.293 | 249.9449 | 182.6266 | 115.8524 | 49.2942 | -17.7956
 | 321.09 | 320.46 | 316.47 | 315 | 313.95 | 313.11 | 312.9 | 312.9 | 313.53 | 314.16 | 315.63 | 312.06 | 308.07 | 304.08 | 301.14 | 297.78 | 295.26 | 291.69 | 289.17 | 286.65 | 283.5 | 281.4 | 278.88 | 277.2 | 274.89 | 272.37 | 270.9 | 269.43 | 267.96 | 266.28 | 264.39
 | 0 | 18.681 | 37.0867 | 56.6582 | 77.0278 | 98.2937 | 120.5671 | 143.9736 | 168.6554 | 194.7738 | 222.5111 | 245.4209 | 268.735 | 292.4824 | 316.6948 | 341.4068 | 366.6554 | 392.4798 | 418.9217 | 446.0248 | 473.8355 | 502.4023 | 531.7762 | 562.0107 | 593.1622 | 625.2895 | 658.4546 | 692.7226 | 728.1616 | 764.8432 | 802.8426
 | 0 | 35.062 | 99.2743 | 148.2396 | 197.0896 | 259.8813 | 323.0002 | 375.7379 | 455.2012 | 524.7173 | 598.6406 | 644.5661 | 732.9686 | 831.2145 | 916.852 | 1114.3615 | 1304.6879 | 1475.5853 | 1638.7991 | 1784.3862 | 1928.7672 | 2053.8309 | 2161.8472 | 2250.3512 | 2342.5135 | 2426.9669 | 2504.7996 | 2584.1102 | 2663.4282 | 2741.6514 | 2819.5692
0.0
0.5
1.0
1.5
2.0
2.5
3.0
3.5
4.0
2020
2030
2040
2050
Chart: 
 | 3.1316 | 3.1098 | 3.0572 | 3.0081 | 2.9503 | 2.8688 | 2.7589 | 2.5777 | 2.4118 | 2.2254 | 2.0828 | 1.9041 | 1.7706 | 1.6167 | 1.4799 | 1.3271 | 1.2018 | 1.0688 | 0.92656 | 0.83448 | 0.74881 | 0.67748 | 0.60526 | 0.52714 | 0.47588 | 0.41979 | 0.38829 | 0.35446 | 0.32037 | 0.2793 | 0.25183
 | 0.010892 | 0.021835 | 0.034122 | 0.049671 | 0.067817 | 0.087324 | 0.10834 | 0.13065 | 0.15419 | 0.17698 | 0.19935 | 0.21905 | 0.23586 | 0.24823 | 0.25698 | 0.26059 | 0.26213 | 0.26256 | 0.26081 | 0.26042 | 0.26039 | 0.26286 | 0.26592 | 0.27069 | 0.27796 | 0.28679 | 0.29793 | 0.31056 | 0.32405 | 0.33517 | 0.35179
 | 0.0092739 | 0.018305 | 0.028464 | 0.041476 | 0.056796 | 0.073369 | 0.091299 | 0.1104 | 0.1306 | 0.15017 | 0.16936 | 0.1862 | 0.20045 | 0.21076 | 0.21783 | 0.22037 | 0.22104 | 0.22066 | 0.21839 | 0.21722 | 0.21635 | 0.21758 | 0.21935 | 0.2226 | 0.22799 | 0.23473 | 0.24344 | 0.25344 | 0.26422 | 0.27313 | 0.28657
 | 0 | 0.030245 | 0.11345 | 0.19378 | 0.2469 | 0.27763 | 0.32801 | 0.44196 | 0.54374 | 0.65057 | 0.72821 | 0.84283 | 0.92473 | 1.0277 | 1.1228 | 1.2228 | 1.3071 | 1.4105 | 1.5155 | 1.5883 | 1.6571 | 1.7288 | 1.798 | 1.8778 | 1.9412 | 2.0106 | 2.0626 | 2.1172 | 2.1676 | 2.1977 | 2.2462
2020
2030
2040
2050
Low-carbon technologies
Demand efficiency levers (construction)
Demand efficiency (other industries)
Unabated emissions
CDR offsets will be required to reach net-zero
Cement and concrete
Steel

## Slide 54: A suite of low-carbon cement and concrete technologies are available today, including CCUS which will likely account for 40% of cumulative mitigation potential to 2050
1.5oC aligned pathways to net-zero in cement and concrete
GtCO2 per year
Chart: 
 | 2481.5073 | 2455.9779 | 2406.4505 | 2376.4839 | 2350.3243 | 2312.581 | 2279.7941 | 2259.9909 | 2219.1401 | 2189.7313 | 2163.4736 | 2109.9872 | 2011.1212 | 1902.5776 | 1814.1471 | 1611.0667 | 1421.29 | 1243.8029 | 1081.614 | 937.3608 | 790.2063 | 670.0971 | 564.4425 | 484.577 | 397.0738 | 316.293 | 249.9449 | 182.6266 | 115.8524 | 49.2942 | -17.7956
 | 321.09 | 320.46 | 316.47 | 315 | 313.95 | 313.11 | 312.9 | 312.9 | 313.53 | 314.16 | 315.63 | 312.06 | 308.07 | 304.08 | 301.14 | 297.78 | 295.26 | 291.69 | 289.17 | 286.65 | 283.5 | 281.4 | 278.88 | 277.2 | 274.89 | 272.37 | 270.9 | 269.43 | 267.96 | 266.28 | 264.39
 | 0 | 18.681 | 37.0867 | 56.6582 | 77.0278 | 98.2937 | 120.5671 | 143.9736 | 168.6554 | 194.7738 | 222.5111 | 245.4209 | 268.735 | 292.4824 | 316.6948 | 341.4068 | 366.6554 | 392.4798 | 418.9217 | 446.0248 | 473.8355 | 502.4023 | 531.7762 | 562.0107 | 593.1622 | 625.2895 | 658.4546 | 692.7226 | 728.1616 | 764.8432 | 802.8426
 | 0 | 14.7225 | 28.1998 | 40.7089 | 52.3217 | 63.1609 | 74.3315 | 85.4009 | 96.4125 | 107.4121 | 118.4478 | 124.2015 | 129.7808 | 135.1993 | 140.4708 | 145.6079 | 150.2424 | 154.7707 | 159.2045 | 163.5551 | 167.8336 | 171.4894 | 175.1009 | 178.6781 | 182.2307 | 185.7683 | 189.1684 | 192.5728 | 195.9903 | 199.4293 | 202.8981
 | 0 | 0.67518 | 1.6707 | 2.5447 | 3.6014 | 15.4921 | 26.2617 | 27.4279 | 50.8868 | 64.6767 | 82.6198 | 92.1997 | 138.1882 | 193.1298 | 239.521 | 405.6447 | 564.9492 | 705.8131 | 834.3668 | 944.8385 | 1054.5012 | 1148.8037 | 1226.8834 | 1285.331 | 1347.7389 | 1401.4502 | 1447.8024 | 1494.1318 | 1540.1803 | 1584.7898 | 1629.1673
 | 0 | 4.973 | 10.2061 | 15.5201 | 20.8529 | 29.3735 | 38.1897 | 45.366 | 55.9108 | 64.8897 | 72.588 | 82.4556 | 98.611 | 115.8295 | 129.1178 | 134.6301 | 140.2015 | 144.7819 | 153.9452 | 163.4798 | 172.4935 | 177.9477 | 182.3672 | 186.6568 | 190.3553 | 194.7126 | 199.5715 | 205.5216 | 211.3102 | 216.9529 | 221.9913
 | 0 | 1.4515 | 33.1193 | 49.9401 | 67.0055 | 84.3755 | 102.1168 | 120.3037 | 139.0187 | 158.3534 | 178.4103 | 187.5574 | 196.6416 | 205.6821 | 214.6967 | 223.7017 | 232.7123 | 241.743 | 250.8078 | 259.9203 | 269.0938 | 278.3413 | 287.6756 | 297.1097 | 306.6561 | 316.3277 | 326.1372 | 336.0973 | 346.221 | 356.5211 | 367.0106
 | 0 | 13.2398 | 26.0784 | 39.5259 | 53.3081 | 67.4794 | 82.1005 | 97.2393 | 112.9724 | 129.3854 | 146.5748 | 158.1519 | 169.7471 | 181.3738 | 193.0457 | 204.7771 | 216.5825 | 228.4767 | 240.4749 | 252.5924 | 264.845 | 277.2488 | 289.8201 | 302.5757 | 315.5325 | 328.7081 | 342.1201 | 355.7867 | 369.7264 | 383.9584 | 398.5019
0.0
0.5
1.0
1.5
2.0
2.5
3.0
3.5
4.0
2020
2030
2040
2050
Efficiency in concrete production: using less clinker per unit of cement
by using less emissions-intensive supplementary cementitious
materials (SCMs)
Savings in cement and binders: using less cement per unit of concrete
by increasing strength of cement and using low-carbon chemistries
(e.g., alternative binders)
Fuel switching and energy efficiency: addressing heat emissions
through thermal efficiency and replacing fossil fuels with waste and
biofuels, hydrogen, or electrification
CCUS – carbon capture, utilisation and storage
Decarbonisation of electricity
Demand efficiency: improving building design,
extending building lifespans, increasing the use of alternative materials,
and reusing certain elements of concrete
Recarbonation: concrete reabsorbs CO2 over its lifetime
Unabated
Reducing process emissions
Bringing production emissions close to zero
Reducing demand for concrete/cement

## Slide 55: The biggest opportunity to reduce embodied carbon is to build less in the first place; but there are many ways to “build clever” and “build efficient” without restricting urbanisation
Build nothing
Build less
Build smarter
Decarbonise material production
Build efficient
Brief
Design
Material production
Construction
Impact of embodied carbon reduction strategies
Reduction potential, %
Build nothing
Re-use or extend use of existing buildings
Build less
Optimise building use and service efficiency
Better urban planning
Build smarter
Material intensity
Innovative construction solutions
Material substitution
Build efficient
Efficient construction methods
Circularity approach
High impact – but much harder to implement
Relatively lower impact – but easier to implement

## Slide 56: Strategies to reduce material demand, minimise waste and extend building lifetimes could cut demand for cement and steel by 30–35% to 2050
Chart: 
 | 100 | 70 | 69 | 64 | 64
 | 30 | 1 | 5
BAU
Build smarter
1
Build efficient
Build less
High efficiency
65
-35%
Note: The impact of the levers in steel reflect the impact on total global steel demand, including construction, transport and machinery.
Source: Systemiq analysis for ETC; Mission Possible Partnership (2023), Making Net Zero Concrete and Cement Possible.
Potential reduction in cumulative demand for cement, concrete and steel to 2050
%
Cement and concrete
Build smarter: Building design choices;
innovative construction solutions;
material substitution
Build efficient: Efficient construction methods; circularity approach
Build less: Extend building lifetimes

## Slide 57: Taller buildings and those with a high wall-to-floor ratio are more embodied carbon intensive
Building height
Upfront embodied carbon of high-rise buildings in London
kgCO2e per m2 (gross internal area)
Chart: 
| 10 | 16 | 17 | 25 | 35 | 45 | 52 | 62 | 63
 | 580 | 570 | 520 | 820 | 1000 | 1100 | 840 | 570 | 1070
400
600
800
1,000
1,200
Number of floors
Midrise 1
Midrise 2
Midrise 3
Midrise 4
Highrise 1
Highrise 2
Highrise 3
Highrise 4
Highrise 5
Taller buildings typically require:
More structure – thicker core walls, bigger columns, larger foundations
More space and equipment – lifts and stairs
More building services
Embodied carbon per m2 can be 50% higher to provide the same net useable area between high-rise and low-rise construction
Wall-to-floor ratio
W2F = 0.35 (good)
W2F = 0.50 (poor)
Wall
Floor
Lower Wall to floor (W2F), lower embodied carbon
Illustrative

## Slide 58: There are many alternative materials to cement, concrete and steel, but to have a lower whole-life carbon impact, they must be sustainably sourced and dealt with correctly at end of life
Low-carbon material | Description and main uses | How certain is low whole-life embodied carbon? | Current market scale | Potential to scale further
Timber | Softwood: window and door frames Glued-laminated timber: load bearing elements such as rafters, beams, slabs and columns Cross-laminated timbe: structures, walls and floors. | Low Producing timber for construction produces around 100-200 kg CO₂e/m³ - but highly variable; 50% of emissions due to transporting material to site Timber stores carbon over its lifetime in a building, but to realise benefits over concrete and steel, it crucially must be: Sustainably sourced with replanting Reused or recycled at end-of-life Or, if burned, combustion emissions must be captured | Mass market | Medium Supply of sustainability-produced timber is limited Risks of fire, rot and pests must be managed
Four questions determine the whole-life carbon impact of alternative materials
Key question | Risk of adverse impact on whole-life carbon | 
How much carbon is generated from producing the material (e.g., manufacturing and transport) | In almost all cases, carbon is lower than cement/concrete/steel. Using local materials to reduce transport emissions is key. | Low
Is the material sustainably sourced? | Bio-based material must be cut down at the optimal time and replanted. | High
Is carbon further sequestered during the building’s lifetime? | Some materials are able to further sequester carbon, in addition to storing existing sequestered carbon. | Low
How is the material dealt with at end of life? | If material is not reused, recycled or burned with carbon capture, then whole-life carbon impacts can be greater than steel and cement. | High
1
2
3
4

## Slide 59
Bamboo | Lightweight and strong Scaffolding, foundations, flooring, roofs, beams, walls | Medium Bamboo stores carbon over its lifetime, but must be sustainably sourced and dealt with properly at end of life 4-6 years growth cycle means bamboo sequesters carbon 1.3 times faster than tropical rainforests cycle) Can be harvested without killing the plant, allowing quick regeneration | Early stage | Medium Low durability if not treated properly – risk of pests, fungi and fire Very heterogenous material – designing standardised codes and constriction techniques is challenging
Hempcrete | Hemp, lime and water – used for walls, in combination with a structural frame due to low composite strength Able to control humidity and has high thermal inertia Hemp fibres used for insulation | High Hemp absorbs CO2 as it grows and stores it over its lifecycle Rapid growing cycle of hemp (1/3 of a year) Carbonation of lime binder further sequesters carbon Potential for hempcrete to be carbon negative | Early stage | High Fire resistant and less susceptible to pests Hemp can be grown all over the world in different climates – supply is scalable
Rammed earth | A mixture of gravel, sand, silt, clay with a small amount of cement or lime Layers are rammed into place between flat panels which are then removed Excellent thermal mass, limited insulation Technique used for thousands of years | High Use of natural materials means very little carbon is generated in production Rammed earth can also sequester carbon over its lifetime, depending on the amount of lime and cement used However, rammed earth does use a small amount of cement; the exact carbon impact varies depending on the exact composition of material used | Mass market | Medium Natural materials in abundance Composition based on locally available materials Suitable for all climates – but requires high design skills Labour-intensive process, not suitable for modular construction

## Slide 60: Used in the right way and with proper end of life consideration, modern engineered timber can significantly lower a building’s embodied carbon
Cumulative embodied carbon of sustainably sourced timber and timber used inefficiently
kgCO2e/m2
For timer to have lower lifetime emissions compared to high-carbon concrete and steel, it must be:
Sustainably sourced from standing forest which is replanted, ensuring sequestration
Dealt with properly at end of life (e.g., recycled, or burned + carbon capture)
Timber used inefficiently
Timber (with sequestration) sustainably sourced
Efficient reinforced concrete
Efficient steel-concrete composite
Timber (with sequestration and carbon capture) sustainably sourced
Timber (no sequestration and poor end of life consideration)
Year
Harvesting, processing and construction releases carbon emissions
Timber at end-of-life can release stored carbon back into atmosphere
Zero or negative overall emissions are only possible with carbon capture

## Slide 61: The total embodied carbon from building 140 billion m2 by 2050 could be reduced by 65% with action to decarbonise material inputs and with material efficiency and substitution
Chart: 
 | 75 | 39.2645 | 39.2645 | 28.4389 | 28.4389
 | 2.0447 | 0.65024
 | 10.7406 | 3.7714
 | 22.9502 | 6.404
Embodied carbon from construction of new buildings, holding today’s carbon intensity constant
Decarbonising production of material inputs
Using materials more efficiently and substituting for low-carbon materials
Potential lower bound embodied carbon from the construction of new buildings
-35
-10
40
30
-60%
Potential reduction of embodied carbon from the construction of new floor space, cumulative emissions 2023–50
GtCO2e
Cement
Steel
Others
-50%
-10%

## Slide 62: Embodied carbon from retrofitting existing buildings will be offset by avoided operational energy emissions; but as the grid decarbonises, this trade-off will become more challenging
Illustration of the balance between embodied carbon and operational carbon from insulation
Embodied carbon repaid
Whole life
Embodied
Insulation thickness
Carbon emissions
Understanding the whole life carbon from retrofitting requires weighing up embodied carbon and avoided operational emissions
Beyond a certain point, further insulation will have a negative net impact on carbon emissions
This point will shift over time, as operational emissions are decarbonised – creating trickier trade-offs for retrofit
Operational – current carbon intensity
Operational – as grid decarbonises

## Slide 63: If built to the highest embodied carbon standards, lifecycle emissions from rebuilding old buildings could be as high as retrofitting
Cumulative whole life carbon emissions of a commercial building in Europe over 60 years
kgCO2e per m²
Chart: 
 | 222 | 222 | 222 | 222 | 222 | 222 | 222 | 222 | 222 | 222 | 222 | 222 | 222
 | 0 | 50 | 100 | 150 | 200 | 250 | 300 | 350 | 400 | 450 | 500 | 550 | 600
 | 18 | 34 | 50 | 66 | 82 | 98 | 114 | 130 | 146 | 162 | 178 | 194 | 210
2020
2030
2040
2050
2060
2070
2080
240
305
370
440
505
570
635
700
770
835
900
965
1,030
Upfront embodied carbon
In-use embodied carbon
Operational carbon
Chart: 
 | 623 | 623 | 623 | 623 | 623 | 623 | 623 | 623 | 623 | 623 | 623 | 623 | 623
 | 0 | 30 | 60 | 90 | 120 | 150 | 180 | 210 | 240 | 270 | 300 | 330 | 360
 | 4 | 7 | 11 | 14 | 18 | 21 | 25 | 28 | 32 | 35 | 39 | 42 | 45
2020
2030
2040
2050
2060
2070
2080
625
660
695
725
760
795
830
860
895
930
960
995
1,030
Operational carbon is 4x higher in the retrofit scenario
Total upfront embodied carbon of the rebuild scenario is 3x higher, but this will change as material production decarbonises
Retrofitting building for energy efficiency
Rebuilding building to very high operational and embodied carbon standards